## Evidence and comments
Reference | Reg 19 comments / requirements to be considered sound | Link to evidence | Info from evidence | Further comments/answers to inspector's Qs | Status
Policy EN18 | The Local plan policy EN18 update must be supported by evidence of a Sequential Test and a Level 2 SFRA. These have not been provided so the Local Plan is unsound because it is not justified and not consistent with national policy | ST | Sequential Test and Level 2 SFRA document submitted for review | We are pleased these documents have been prepared. Further comments on specific site allocations and the sequential test are below
All site allocations | Sequential test required | ST | Sequential test has been submitted for review
CA1a (Reading University Boat Club) | Must be included in Level 2 SFRA and exception test must be passed. Not feasible to compensate for loss of any floodplain storage caused by increase in built footprint | CA1a L2 SFRA | SFRA recommends that only the lower dwelling amount (18) is considered for development, which would require 0.30ha of land, a significant amount of the 0.37ha which is within Flood Zone 3a. Recommends that a site-specific FRA assesses the requirement for compensatory storage in more detail | Policy CA1a states that development shall only take place in Flood Zone 2 (ie not Flood Zone 3). This is only 2% of the site which would not be sufficient space even for the lower dwelling amount. Moreover, only 2% of the site lies outside of the 1% AEP + 35% climate change flood extent, so it's highly unlikely that compensatory flood storage could be provided for the loss of storage the development would bring. In answer to the inspector's question 10.49, we do not consider the site to be viable, or the development deliverable, in terms of flood risk. | Unsound
CR11e (north of Reading Station) | FRSA would apply and exception test not required, but must be included in Level 2 SFRA | CR11e L2 SFRA | Majority of the site is in Flood Zone 2 so SFRA concludes that it should be possible to locate all development outside of FZ3, in which case FRSA would apply. It also says that some infrastructure may need to be raised outside of the design flood level and the impacts of this will need to be assessed to ensure the dev is safe for its lifetime without increasing flood risk elsewhere. | Figure 4 of the L2 SFRA indicates the majority of the site is within the 1% AEP + climate change extent. This doesn't make the development undeliverable. Any loss of floodplain storage must be compensated, and this must be assessed in a site-specific FRA. | Sound
CR11f (west of Caversham Road) | FRSA would apply and exception test not required, but must be included in Level 2 SFRA | CR11f L2 SFRA | Site is entirely in FZ2 and almost entirely in 1% AEP + climate change extent. Section 5.2 states "building footprints and infrastructure should be sited outside of the modelled design flood event" and that compensatory storage should be assessed at site-specific FRA | As the site is in FZ2 and proposed use is more vulnerable, this would fall under FRSA. Therefore we have no concerns related to the viability or deliverability. We note section 5.2 and wish to flag that it is likely impossible to locate all development outside of the 1% AEP + CC extent (comprising 88% of site). This section could be amended, for example, "any loss of floodplain storage due to an increase in built footprint or raising of ground levels within the design flood extent must be assessed and compensated in the site-specific FRA" | Sound
CR11g (Riverside) | Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated | CR11g L2 SFRA | Very small proportion of site is in FZ3a, L2 SFRA states that more vulnerable development should be located outside of this extent but less vulnerable dev could be sequentially (no exception test needed). | We agree with the SFRA's conclusion that development should be possible outside of Flood Zone 3a. We also welcome its recommendation that a FEP is provided at planning stage given the hazard extents along routes of access and escape | Sound
CR11i (Napier Court) | Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated | CR11i L2 SFRA | 10% of site is in FZ3a, 41% in 1% AEP + CC (per the ST). SFRA notes some infrastructure may need to be raised and compensation required. | Based on Figure 4 there appears to be sufficient land outside of the design flood extent to develop and compensate for any subsequent loss of floodplain storage. This must be assessed in a site-specific FRA, which is stated in section 5.2 of the SFRA. We also note that the requirement for the exception test is stated in section 5.1. We have no reason to believe the development is not viable or deliverable | Sound
CR12a (Cattle Market) | FRSA would apply and exception test not required, but must be included in Level 2 SFRA | CR12a L2 SFRA | Site is entirely in FZ2 and partly within 1% AEP + CC. Development is permissible in FZ2 but some raising and subsequent compensation may be required in the design extent. | As the site is in FZ2 and proposed use is more vulnerable, this would fall under FRSA. Therefore, we have no concerns related to the principle of the development. Any loss of floodplain storage from raising of infrastructure or increasing built footprint in the design flood event must be compensated, which is stated in the SFRA. | Sound
CR12b (Great Knollys St and Weldale St) | Not mentioned in flood risk policy despite being in FZ2 and 1% AEP + 35% extents. FRSA would apply and exception test not required, but must be included in Level 2 SFRA | CR12b L2 SFRA | Site is partly in FZ2 and the 1% AEP + CC extents. SFRA states that this is manageable but should be considered when placing infrastructure. | As the site is in FZ2 and proposed use is more vulnerable, this would fall under FRSA. Therefore, we have no concerns related to the viability or deliverability of the development. Any loss of floodplain storage from raising of infrastructure or increasing built footprint in the design flood event must be compensated. | Sound
CR13d (Gas Holder) | Must be included in Level 2 SFRA. Any increase in built footprint [and subsequent loss of floodplain storage] must be compensated | None. Not referenced in covering report | ST document explains development already has planning permission | We have no comments on this site allocation as development already has planning permission | Development already has planning permission
CR14g (The Oracle Riverside East) | Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated. FZ3b on site but this appears to be restricted to the Kennet channel which runs through the site | CR14g L2 SFRA | Flood Zone 3a (and 3b) is limited to the channel of the Kennet which runs through the site. SFRA focuses more on pluvial flood risk. It will be likely that the majority of infrastructure will be located outside of FZ3a. | FZ3 present on site but according to Figure 4 this is restricted to the channel of the River Kennet. The developable land on site is in FZ1 so we have no concerns regarding viability or deliverability of the development | Sound
CR14m (Caversham Lock Island and Caversham Weir, Thames Side) | Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated | CR14m L2 SFRA | Proposed development is water compatible which is permissible in FZ3b. SFRA highlights need for compensatory flood storage if new infrastructure is introduced and the limited space available on site for this. | We note the SFRA's recommendation that any development should not increase flood risk elsewhere and that flood warning and safe access is vital. Given the water-compatible nature of the development, we have no concerns regarding the deliverability or viability of the development | Sound
CR14n (Reading Central Library) | Likely to be a policy objection as the site is in FZ3b and the proposed residential development is an increase in vulnerability (less vulnerable to more vulnerable). Draft policy states the development will avoid FZ3 which must be demonstrated in a Level 2 SFRA. Exception test must be passed before site can be allocated | None. Not referenced in covering report | Site is included in the sequential test doc and concludes that development needs cannot be met on sequentially preferable sites. It also discusses deculverting the Holy Brook to reduce flood risk, but this is not explored in a Level 2 SFRA. | We maintain our current position that this will likely be a policy objection at planning stage. It is not appropriate to build over a culverted watercourse and all development must be a minimum of 8m from the channel. A level 2 SFRA is required and we question why this has not been produced for this site. We note this specific site allocation is not listed in the inspector's MIQs for the Central Reading site allocations, but we do not consider this site deliverable or viable for allocation, in answer to question 10.17. | Unsound
CR14s (20-22 Duke Street) | Not mentioned in flood risk policy despite being partially within FZ3b. Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated | CR14s L2 SFRA | There is a small area of FZ3a on site (10%) and less in the design flood extent (4%). The SFRA recommends that the development is located outside the design flood extent | We agree with the SFRA's conclusion that development should be possible outside of Flood Zone 3a. We have no reason to believe the development is not deliverable at this site | Sound
CR14v (Norman Place) | Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated | CR14v L2 SFRA | Site is mostly FZ1 with some FZ2 (25%), FZ3 (4%) and design flood (17%) extents. SFRA states that development in FZ1 should be possible. It also recommends the provision of a FEP at planning stage | We agree with the SFRA's conclusion that development should be possible outside of Flood Zone 3a. We have no reason to believe the development is not deliverable at this site. We also welcome the recommendation of a FEP being provided at planning stage | Sound
CR14w (Reading Bridge House, Norman Street) | Must be included in Level 2 SFRA. Exception test must be passed before site can be allocated | CR14w L2 SFRA | Section 3.2 of the SFRA states 98% of the site is in FZ2 and 2% in FZ3a. However, section 5.1 states "the majority of [the site] falls in Flood Zone 1". It is assumed this is a grammatical error. Section 5.2 also states that building footprints and infrastructure should be located outside the small design flood extent on site. | This site is mostly FZ2 and proposed development is more vulnerable, so FRSA would apply if all development is located outside of FZ3 as the SFRA recommends. We have no reason to believe the development is not deliverable at this site. | Sound
CR14x (part of Tesco Car Park, Napier Rd) | Proposed residential development will bring an increased built footprint (currently a car park with none) which is unlikely to be able to be compensated. This is inconsistent with national policy. Exception test must be passed before site can be allocated | CR14x L2 SFRA | Site is entirely within FZ2 but not FZ3. It is almost entirely within the design flood event (94%). The SFRA acknowledges that "a significant amount of infrastructure may need to be raised to ensure it is safe for the development's lifetime" and that compensatory storage will be required. | Given that the majority of the site is within the design flood event and there is currently no built footprint on site (currently a car park), we do not consider there will be sufficient space on site to compensate for the increase in built footprint the development will bring. We note this specific site allocation is not listed in the inspector's MIQs for the Central Reading site allocations, but we do not consider this site deliverable or viable for allocation, in answer to question 10.17. | Unsound
CR14y (Kennet Place, Kings Road) | FZ1, but River Kennet runs adjacent. A minimum 10m buffer zone is required, which is not clearly stated in local plan policy | ST | No Level 2 SFRA. Sequential test concludes there is no fluvial flood risk to the site. No mention of a buffer zone in ST or local plan policy. | The lack of a buffer zone does not make the site undeliverable. This will need to be assessed at site-specific FRA stage and also when a Flood Risk Activity Permit (FRAP) stage if development is proposed within 8m of the watercourse. There is no national policy regarding buffers to main rivers. This site alocation is also not listed in the inspector's MIQs for Central Reading site allocations | Sound
CR14z (Sapphire Plaza, Watlington Street) | FZ1. A minimum 10m buffer zone is required, which is not clearly stated in local plan policy | ST | No Level 2 SFRA. Sequential test states there is 1% of design flood extent on site, but this appears to be a resolution. Flows will remain in-channel during the design flood event No mention of a buffer zone in ST or local plan policy. | The lack of a buffer zone does not make the site undeliverable. This will need to be assessed at site-specific FRA stage and also when a Flood Risk Activity Permit (FRAP) stage if development is proposed within 8m of the watercourse. There is no national policy regarding buffers to main rivers. This site alocation is also not listed in the inspector's MIQs for Central Reading site allocations | Sound
East Reading Allocation Policies | A sequential test is required to support the selection and allocation of sites within Flood Zones 2 and 3 | ST | The sequential test confirms that all of the sites (ER1b-e, ER1i, and ER1k) are all entirely within FZ1 | We have no reason to believe these site allocations are not viable and deliverable, in answer to question 10.59 of the inspector's MIQs | Sound
SR1a (former landfill, Island Road) | Local Plan policy mentions a 10m buffer but flood risk is not discussed further. Must be included in the Level 2 SFRA. Exception test must be passed before site can be allocated | SR1a L2 SFRA | Site is partly in FZ2 with a small amount (6%) in the design flood event. SFRA concludes that the majority of the development can be located in FZ1. | We welcome a Level 2 SFRA has been undertaken for this site. It is less vulnerable development in a site which is mostly FZ2, which would fall under FRSA if the small area of FZ3 can be avoided. We have no reason to believe this site is not deliverable. | Sound
SR1c (Island Road, A33 frontage) | Unclear from the shapefile whether the site boundary falls within DZ2/3. If so, this site must be included in the Level 2 SFRA | ST | ST demonstrates entire site falls in FZ1 | No further comments | Sound
SR4a (Pulleyn Park, Rose Kiln Lane) | Local Plan policy mentions a 10m buffer and no development in FZ3. Must be included in the Level 2 SFRA. Exception test must be passed before site can be allocated | SR4a L2 SFRA | Site is mainly FZ1 with a small area of FZ2/3 where an unnamed watercourse runs through the site. The SFRA recommends that built footprint and infrastructure is located outside of this extent. | We have no reason to believe this site is not deliverable, and welcome the recommendation of the SFRA that there shall be no development within the small extent of Flood Zone 3 on site. | Sound
SR4g (Reading Link Retail Park, Rose Kiln Lane) | FZ1. A minimum 10m buffer zone is required, which is not clearly stated in local plan policy | SR4g L2 SFRA | Site is mainly FZ1 with a small area of FZ2 (12%). SFRA states that the majority of the development can be located in FZ1 with potentially some infrastructure in FZ2. | We welcome the SFRA's recommendations and have no reason to believe this site is not deliverable | Sound
SR4k (former Sales and Marketing Suite, Drake Way) | Based on the site allocation shapefile, the site boundary is >8m from the bank of the river but unclear how accurate this boundary is. Any new development at this site must incorporate a 10m buffer zone from the river and this is mentioned for biodiversity reasons in the LP. | ST | ST demonstrates entire site falls in FZ1 | No further comments
WR3b (2 Ross Road and part of Meadow Road) | Must be included in the Level 2 SFRA. Site is within FZ2 and the 1% AEP + 35% extents including all obvious access and escape routes | WR3b L2 SFRA | Site is mostly FZ1 with a small amount of FZ2 (5%) and design flood (2%) extent. The SFRA states that "building footprints and infrastructure should be sited outside of the small area lying within the modelled design flood extent". | We welcome the SFRA's recommendations and have no reason to believe this site is not deliverable. We also welcome the SFRA's identification of the least hazardous route of escape, and its recommedaiton of a further assessment of hazard in a site-specific FRA | Sound
WR3i (Land at Portman Way) | Must be included in Level 2 SFRA and exception test must be passed. Not feasible to compensate for loss of any floodplain storage caused by increase in built footprint which is contrary to policy EN18 | WR3i L2 SFRA | Site is entirely in FZ2 and design event. SFRA acknowledges that compensation for any loss of floodplain storage will be challenging and recommends that the lower dwelling amount (18) is considered for development. | More vulnerable development in FZ2 would fall under FRSA. However, as there is no land on site outside of the design flood event, it will not be possible to compensate for any loss of floodplain storage (increased built footprint or ground raising) this development will bring. This is contrary to policy EN18 as an increase in built footprint will lead to an increase in flood risk elsewhere. To answer the inspector's question 10.37, we do not consider the development deliverable on this site | Unsound
WR3k (784-794 Oxford Road) | Must be include in Level 2 SFRA. FRSA applies | WR3k L2 SFRA | Site is partly within FZ2 and entirely outside FZ3 and the design flood event. SFRA mainly focuses on surface water flood risk and recommends the development of a bespoke hydraulic model to support a site-specific FRA | More vulnerable development in FZ2 would fall under FRSA. We have no concerns with regard to fluvial flood risk that would make development undeliverable at this site | Sound

## Other sites with a L2 SFRA
Reference | Link | Comments
WR3u (132-134 Bath Rd) | WR3u L2 SFRA | Entirely in FZ1, no comments on fluvial FR
SR4c (169-173 Wokingham Rd) | SR4c L2 SFRA | Entirely in FZ1, no comments on fluvial FR
ER1m (land adj to Craven Rd) | ER1m L2 SFRA | Entirely in FZ1, no comments on fluvial FR
CR13c (Kenavon Drive and Forbury Business Park) | CR13c L2 SFRA | Site within FZ2 but not 1% AEP + 35% climate change. More vulnerable use in FZ2 so FRSA would apply. We did not highlight this in our Reg 19 representation but are pleased that a Level 2 SFRA has been undertaken for this site.